Data included in this report for Friends of the Cheat’s monitoring program has been funded (in part) by the United States Environmental Protection Agency, West Virginia Department of Environmental Protection’s Watershed Improvement Branch, United States Office of Surface Mining, and the Stream Partners Program.

Project: Allen Conner Messenger

Stream: Glade Run | Martin Creek | Muddy Creek

Coordinates: 39.575262, -79.645004

Year completed: 2012

Total construction: $228,095 (Alpha Associates/CE Bolyard & Son)

Description: Three independent auto-flushing limestone leach beds were constructed to treat three

AMD sources. Due to space limitations, no settling ponds were constructed. The ponds are set to flush on a staggered schedule so that only one pond is flushing at a time.

Expected results: Target 80-85% removal of acidity (245 TPY), iron (4.3 TPY) and aluminum

(29.94 TPY), and manganese (5.3 TPY)

Water quality data: (07/23/2021), (07/29/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ACM 1 SO –07/23/2021 | 0 | - | - | - | - | - | - |
| ACM 2 SO –07/29/2021 | 15.859 | 1854 | 3.61 | 228.6 | 28.4 | 2.63 | 3.96 |
| ACM 3 SO –07/23/2021 | 24.51 | 1166 | 4.53 | 121.6 | 15.0 | 2.31 | 1.75 |
| GR us ACM –07/23/2021 | 230.23 | 847.3 | 3.91 | 104.3 | 13.0 | 1.79 | 1.87 |
| GR ds ACM -07/23/2021 | 289.92 | 1086 | 4.03 | 137.6 | 11.9 | 1.91 | 1.98 |

Project: Auman Road

Stream: Beaver Creek | Little Sandy Creek | Big Sandy Creek

Coordinates: 39.610320, -79.585489

Year completed: 2020

Total construction: $296,338.00 (Engineering: CEC, INC, Construction: Solid Rock Excavating, INC)

Description: The site currently consists of two small impoundments and AMD seeps from land

reclaimed in 1996. The conceptual design includes open limestone channels, a flushing limestone leach bed, a settling pond, and a wetland.

Expected results: 80% removal of pollutant loads. Current loads- acidity: 50 TPY, aluminum: 7

TPY, iron: 1.3 TPY, manganese: 1.9 TPY.

Water quality data: (9/29/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Auman Pond #1 | - | 462 | 3.89 | 40.33 | 4.5 | 0.609 | 2.23 |
| Auman L CB | - | 570 | 3.51 | 65.6 | 5.49 | 5.34 | 3.34 |
| Auman L WL | - | 505 | 7.7 | -36.8 | 0 | 0 | 0.927 |
| BC at Auman Rd | 7064.11 | 111 | 7.35 | -9.21 | 0 | 0 | 0.077 |
| Auman Trib at Auman | 512.98 | 152 | 7.32 | -4.99 | 0.0859 | 0.342 | 0.317 |

Project: Big Bear

Stream: Beaver Creek | Little Sandy Creek | Big Sandy Creek

Coordinates: 39.599304, -79.501557

Year completed: 2000; 2015

Total construction: 2000: $108,866 (Alpha Associates/Ground Breakers); 2015: $93,477

(Alpha Associates/Williams Excavating)

Description: 2000: Water quality is degraded by exposure to sandstone bedrock, acid deposition,

and a large headwater wetland which contributes acidity. A limestone leach bed was constructed to add alkalinity. After approximately two years, it became clogged and inefficient due to lack of sediment control. 2015: The limestone leach bed was replaced and an Agri-drain and flush pipes were installed.

Expected results: Add alkalinity to Beaver Creek

Water quality data: (9/10/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BB SI | 3.411 | 24.3 | 6.61 | 9.58 | 0 | 0.47 | 0.0463 |
| BB SO | 3.348 | 105 | 7.55 | -9.09 | 0.0985 | 0 | 0.0139 |

Project: Blood Lagoon

Stream: Middle Fork Greens Run | Greens Run

Coordinates: 39.489467, -79.701807

Year completed: 1995, 2002; 2007

Total construction: 1995: $250,000 (Anker Energy); 2002: $62,750 (Triad Engineering); 2008:

$224,079 (Alpha Associates/CE Bolyard & Son)

Description: 1995: Anoxic limestone drain (ALD) was installed to treat AMD from seep #3. Half

of the iron and all of the aluminum precipitated in the drain. ALD was plugged within one year. 2002: A steel slag system was constructed, but filled with sludge. 2008: A large steel slag leach pond, limestone leach beds, and settling ponds, which were constructed.

Expected results: 2002: Increase pH from 3.0 to 5.5. 2008: Reductions of iron (61 tons),

aluminum (23 tons), and manganese (2 tons).

Water quality data: (10/20/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BL SO | 14.59 | 2,040 | 2.6 | 768 | 61.7 | 76 | 4.98 |

Project: Clark

Stream: Sovern Run | Big Sandy Creek

Coordinates: 39.589212, -79.663374

Year completed: 2005

Total construction: $71,600 (Triad Engineering/CE Bolyard & Son)

Description: Land reclamation including the installation of mine seals took place in the 1990s. In

2005, Sovern Run was channeled into a composite steel slag and open limestone v-shaped ditch to provide passive treatment. An additional steel slag check dam was installed at the outlet of an unnamed tributary of Sovern run near the downstream end of the project site. *Due to landowner issues, FOC has not visited the site since 2009.

Expected results: Reduction of pollutants: acid (57 TPY), iron (0.84 TPY), aluminum (5.1

TPY), and manganese (0.4 TYP).

Water quality data: (11/20/2009*)

| Site | Flow (GPM) | Conduct. (µs) | Field pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Clark SO | 10 | 490 | 6.14 | 6.02 | 0.24 | 0.44 | 0.69 |
| Clark BOLC3 | 11 | 650 | 3.63 | 52.85 | 2.13 | 8.75 | 3.19 |
| Clark abv Dam | - | 140 | 6.9 | - | - | - | - |

Project: DeAntonis

Stream: Morgan Run

Coordinates: 39.464001, -79.710020

Year completed: 2007; 2009

Total construction: 2007: $102,588 (Alpha Associates); 2009: $43,650 (Alpha Associates/CE

Bolyard & Son)

Description: 2007: A limestone leach bed was constructed at the draining portal. Freshwater was

directed through a steel slag leach bed. A sludge pond allowed mixing and precipitation from both leach beds. 2009: A freshwater basin installed to supply steel slag bed and limit sedimentation. Sludge was also removed and disposed of at T&T #3.

Expected results: Reductions of 25,459 pounds/year of iron, 6,780 pounds/year of aluminum,

883 pounds/year of manganese.

Water quality data: (6/1/2020)

| Site | Flow (GPM) | Conduct. (µs) | Field pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DeAnt SO | 28.371 | 1363 | 2.76 | 384.3 | 25.1 | 44.7 | 1.74 |

Project: Dinkenberger

Stream: North Fork Greens Run | Greens Run

Coordinates: 39.494007, -79.718950

Year completed: 2003; 2011

Total construction: 2003; 2011: $113,591 (Alpha Associates/Williams Excavating, LLC)

Description: 2003: A small dike was constructed to improve a pool at the mouth of the portal.

Water discharged into a limestone leach bed, down a limestone rip rap channel, through a culvert under the road. A storm in 2005 clogged the leach bed with organic material. In 2006, the leach bed was wrapped in fabric to prevent further clogging. 2011: An auto flushing limestone leach bed replaced the original leach bed. Water discharges through a culvert under the road and flows through an open limestone channel with sheet piling prior to flowing into the stream.

Expected results:

Water quality data: (07/07/2021) *Assumed Dink SO flow = SI flow

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dink SO | 4.386* | 1230 | 4.24 | 207.3 | 27.9 | 1.36 | 4.48 |
| Dink Trib ds SO | 16.611 | 485.1 | 3.95 | 82.16 | 5.38 | 1.29 | 2.33 |
| Dink Trib us Known Seeps | 0 | - | - | - | - | - | - |
| Dink SI | 4.386 | 1741 | 2.8 | 858.3 | 67.1 | 149 | 7.99 |

Project: Dream Mountain

Stream: Muddy Creek

Coordinates: 39.552141, -79.630891

Year completed: 2012, Updates anticipated Jan 2021

Total construction: Phase I: $232,831.93 (Engineering: BioMost, INC, Construction: Blue Gold Development, LLC)

Description: Open limestone channels collect and convey water from five portals on the Dream

Mountain Game Ranch property to one common point (DM Comb Sources). Two freshwater tributaries are conveyed to a steel slag leach bed. Water mixes in a sludge pond prior to discharging through two constructed wetlands.

Expected results: 80% reduction of pre-construction loads. Removal of 416,416 pounds/year of

acid, 64,528 pounds/year of iron, and 4,016 pounds/year of manganese, as well as generating additional alkalinity.

Water quality data: (10/8/21)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DM Comb Sources | 41.021 | 1950 | 2.76 | 501.5 | 48.3 | 32.9 | 2.58 |
| DM SO | 46.231 | 1460 | 3.76 | 93.26 | 12 | 1.07 | 1.76 |
| MC ds DM SO | 2003.44 | 291 | 7.53 | -16.99 | 0.105 | 0 | 0.166 |
| MC us DM SO | - | - | - | - | - | - | - |
| Muddy Mouth | 3608.35 | 673 | 7.34 | -9.57 | 0 | 0 | 0.795 |

Project: Gary Conner

Stream: Glade Run | Martin Creek | Muddy Creek

Coordinates: 39.575264, -79.659344

Year completed: 2011

Total construction: $411,227 (Potesta & Associates/CE Bolyard & Son)

Description: The site consist of several seeps of acidic water that combine into one drainage path.

Over a mile of open limestone channels collect the water and convey it to a limestone leach bed, settling pond, and aerobic wetland area. The project was designed by Potesta & Associates, Inc. *Due to landowner issues, FOC has not accessed between LSB 1 and Glade Run Road since 2012.

Expected results:

Water quality data: (01/14/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GC Comb Seeps | - | - | - | - | - | - | - |
| GC LSB 1 | - | - | - | - | - | - | - |
| GC SO* | - | - | - | - | - | - | - |
| GC at GRR | 430.85 | 835.4 | 4.82 | 99.05 | 11.9 | 0.878 | 6.73 |

Project: Jessop

Stream: Pase Tributary | Pringle Run

Coordinates: 39.411722, -79.763389

Year completed: 2009

Total construction: $113,228 (Triad Engineering/CE Bolyard & Son)

Description: Open limestone channels collect seeps from two portals. A steel slag leach bed was

placed upstream of the portals in a freshwater channel to boost alkalinity. A limestone leach bed was constructed below the confluence of the AMD and freshwater.

Expected results: Reductions of 1,201 pounds/year of iron, 3,521 pounds/year of aluminum, and

323 pounds/year of manganese.

Water quality data: (10/20/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Jessop SO | 12.617 | 976 | 3.05 | 182.3 | 19.4 | 2.82 | 1.69 |

Project: McCarty Highwall

Stream: Beaver Creek | Little Sandy Creek | Big Sandy Creek

Coordinates: 39.633402, -79.590904

Year completed: 2001

Total construction: $72,784 (Triad Engineering/Grafton Coal Company)

Description: Two seeps formed a small stream that flows south into Beaver Creek. Several other

small seeps are picked up by the UNT. A series of open limestone channels and a steel slag leach bed were constructed downstream of the first two seeps.

Expected results:

Water quality data: (9/17/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| MH SO | 18.218 | 438 | 7.44 | 8.03 | 0 | 0 | 0.763 |

Project: McElroy

Stream: Beaver Creek | Little Sandy Creek | Big Sandy Creek

Coordinates: 39.60632, -79.58763

Year completed: Projected 2020

Total construction: Estimated $174,600 – Engineering and Construction Design-Build.  Design-Builder: BioMost, INC & Solid Rock Excavating, INC

Description: The site consists of three small impoundments and AMD seeps. The site has not been reclaimed nor is AMD currently being treated. The conceptual design includes open limestone channels, a flushing limestone leach bed, a settling pond. Engineering is expected to start in 2019.

Expected results: 80% removal of pollutant loads. Current loads: acidity (30,000 lbs/yr), aluminum (3,500 lb/yr), iron (150 lb/yr), manganese (1,000 lb/yr).

Water quality data: (7/15/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| McElroy Seep 1 | 0 | - | - | - | - | - | - |
| UNT ds McElroy | 43.08 | 190.3 | 7.78 | -3.31 | 0 | 0.365 | 0.245 |
| UNT us McElroy | 38.15 | 190.9 | 8.02 | -4.42 | 0 | 0 | 0.0897 |

Project: Pase Active Treatment

Stream: Pase Tributary | Pringle Run

Coordinates: 39.409273, -79.763499

Year completed: 2004; 2006; 2012; 2017

Total construction: 2004: $142,150 (Triad Engineering/CE Bolyard & Son); 2006: $142,150;

2012: $341,064 (Skelly and Loy/CE Bolyard & Son); 2017: $99,979 (BioMost, Inc./Solid Rock Excavating)

Description: 2004: A vertical flow bioreactor was constructed in sequence with an anoxic

limestone drain. 2006: A limestone leach bed was added above the vertical flow bioreactor, new organic material was added to the vertical flow bioreactor, and rapid flushing valves were added to the ALD. 2012: A 70-ton lime dosing silo was installed to treat acidic mine water from a forebay, followed by two settling ponds and a constructed wetland. 2016: A MixWell, A-Mixer, and trompe were installed to increase mixing. Additionally, a sludge pump and sludge lines were installed.

Expected results: 2017: remove 100% of the acid load, reduce iron and aluminum loads by

greater than 95%.

Water quality data: (07/8/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Pase WL Out | 22.67 | 760.1 | 6.92 | 2.23 | 0 | 0 | 1.71 |
| Pase SI | 22.67 | 1071 | 2.99 | 231.4 | 21.2 | 6 | 2.34 |

Project: Railroad Refuse

Stream: North Fork Greens Run | Greens Run

Coordinates: 39.506973, -79.697443

Year completed: 2015

Total construction: $271,500 (BioMost/Solid Rock Excavating)

Description: Water is conveyed from three portals through an open limestone channel to an

oxidation precipitation channel, an auto-flushing limestone leach bed with syphon system, a settling pond, a mixed-media vertical flow pond, and constructed wetland.

Expected results: Discharge neutral pH, >1 mg/L aluminum, >5 mg/L iron, discharge additional

alkalinity

Water quality data: (07/07/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| RR WL Out | 1.13 | 441.5 | 7.84 | -37.86 | 0 | 0 | 0.279 |
| NFG US RR | 157.53 | 124.6 | 5.03 | 16.59 | 0.832 | 0 | 0.285 |
| NFG DS RR | 166.06 | 125.3 | 5.1 | 15.45 | 0.764 | 0 | 0.348 |
| RR TOLC | 0.355 | 2040 | 2.85 | 1244 | 74.5 | 399 | 3.66 |

Project: Sovern 62 / Sovern Bishoff

Stream: Sovern Run | Big Sandy Creek

Coordinates: 39.593591, -79.676086

Year completed: 1998; 2003; 2010

Total construction: 1998: $50,665 (Triad Engineering/Grafton Coal Company); 2003: $12,772

(Grafton Coal Company); 2010: $235,139 (Alpha Associates/CE Bolyard & Son)

Description: 1998: Gravel sized limestone was pneumatically injected into the mine portal and a

dam was constructed to collect treated water. An open limestone channel was constructed below the pond. 2003: Steel slag was added to the pond and rip rap was added to the channel. 2010: A steel slag leach bed, open limestone channels, limestone separation dam, and series of settling ponds including a final wetland polishing pond were constructed. Additionally, a steel slag leach bed (“Bishoff”) was constructed.

Expected results: 80% reduction of Al, Fe, and acidity.

Water quality data: (06/29/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sov 62 SO | 10.522 | 834.4 | 3.35 | 153.4 | 17.4 | 4.01 | 2.4 |
| Bishoff SO | 6.007 | 124.6 | 7.27 | -2.51 | 0 | 2.48 | 0.347 |

Project: Sovern England

Stream: Sovern Run | Big Sandy Creek

Coordinates: 39.593927, -79.681167

Year completed: Projected 2017

Total construction: Expected $169,525 ($340,181 including OALMR reclamation project)

Description: Land reclamation completed by OAMLR (Solid Rock Excavating) in 2016.

Hedin Environmental is working on designing and constructing a drainable limestone bed.

Expected results: Removal of 142 pounds/day of acidity, 8 pounds/day of aluminum, 2

pounds/day of iron, and 2 pounds/day of manganese.

Water quality data: (10/4/2021)*Asumme SI flow = SO flow

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sov Eng SI | - | 282 | 3.49 | 38.61 | 2.35 | 3.5 | 0.803 |
| Sov Eng SO | 6.396 | 278 | 7.93 | -31.07 | 0 | 0 | 0 |
| Sov Eng 006 | 15.959 | 257 | 7.95 | -48.14 | 0 | 0 | 0.106 |

Project: Sovern Sands

Stream: Sovern Run | Big Sandy Creek

Coordinates: 39.590348, -79.680534

Year completed: 2007; 2011

Total construction: ~$500/25 ton truck load of 97% calcium carbonate dust as needed

Description: Periodically, limestone fines are shoveled instream in Sovern Run in cooperation

with the landowner.

Expected results: Added alkalinity instream.

Water quality data: (10/5/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sov Sands US | 124.32 | 350 | 5.0 | 13.95 | 0.897 | 0.196 | 0.828 |
| Sov Sands DS | 173.69 | 339 | 5.76 | 9.37 | 0.335 | 0 | 0.779 |
| Sov Hudson | 205.1 | 306 | 6.63 | 6.87 | 0 | 0 | 0.476 |
| Sov Mouth | 500.41 | 268 | 7.52 | -10.56 | 0 | 0 | 0 |

Project: Sovern Titchenell

Stream: Sovern Run | Big Sandy Creek

Coordinates: 39.595453, -79.667602

Year completed: 2005; 2015

Total construction: 2005: $174,420; 2015: $216,001 (Skelly and Loy/Solid Rock Excavating)

Description: 2005: An open limestone channel transported water to a limestone leach bed and a

steel slag check dam before discharging into a wetland. An acidic pond was treated by a similar limestone pond and steel slag check dam system. 2015: Steel slag in the upper area was removed and replaced with an auto-flushing limestone leach bed. The lower limestone leach bed was removed and replaced with a larger auto-flushing limestone leach bed. The lower steel slag bed was removed and replaced with a settling pond.

Expected results: Removal of 7.89 pounds/day of Al and 44.49 pounds/day of Fe.

Water quality data: (05/18/2020)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Titch L SP Out | 26.7 | 177.0 | 6.91 | 14.09 | 0 | 0 | 0.694 |
| Titch SO | 118.71 | 256.3 | 5.12 | 18.43 | 0.434 | 0 | 0.563 |

Project: Sovern Tom Clark Phase I - III

Stream: Sovern Run | Big Sandy Creek

Coordinates: 39.587677, -79.672900

Year completed: Projected 2022

Total construction: Expected $773,000.00 between all 3 Phases

Description: Largest remaining un-treated source in Sovern Run watershed, consists of 5 seeps.

Biomost completed conceptuals for Big Sandy Creek WBP in spring of 2018.  Phase I funded, Phase II pending.

Expected results: FOC has observed pollutant loads as high as 152,400 lbs/year (76.1 tons/year) of acidity, 21,400 lbs/year (10.7 tons/year) of aluminum, 1,200 lbs/year (0.6 tons/year) of iron, and 9,200 lbs/year (0.8 tons/year) of manganese.  Project development should reduce these loads by 80% or greater.

Water quality data: (3/24/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ST Clark 1 | 10.254 | 729.5 | 3.87 | 172.7 | 16.3 | 0.463 | 1.72 |
| ST Clark 2 | 23.582 | 1185 | 3.17 | 357.4 | 47 | 2.06 | 4 |
| ST Clark 3 | 1.947 | 1344 | 3.12 | 444.9 | 59.3 | 4.42 | 2.46 |
| ST Clark 4 | 1.393 | 1363 | 3.15 | 497.8 | 67 | 6.45 | 1.6 |
| ST Clark 4A | 1.923 | 263.3 | 4.62 | 58.18 | 5.67 | 1.35 | 2.98 |
| ST Clark Composite | 71.81 | 761.2 | 3.67 | 206.8 | 27.1 | 1.68 | 2.76 |

Project: Upper Muddy Schwab

Stream: Muddy Creek

Coordinates: 39.586577, -79.595252

Year completed: 2005; 2015

Total construction: 2005; 2015: $360,000+

Description: 2005: Three limestone leach beds were constructed to treat seeps. 2015: A large auto-

flushing limestone leach bed and settling pond was constructed downstream of the three original leach beds. Original ponds were stirred.

Expected results: 2015: 80% reduction of acidity (from 192,000 lbs/yr), 90% reduction of

aluminum (from 16,220 lbs/yr), and neutral discharge

Water quality data: (10/18/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| UMS SP OUT | 103.22 | 958 | 6.85 | 4.22 | 0 | 0 | 1.01 |
| UMS SP3 | 3.846 | 809 | 3.95 | 46.44 | 4.74 | 0 | 5.86 |
| UMS SP1 | 2.703 | 109 | 3.57 | 84.22 | 8.22 | 0.305 | 2.28 |
| Muddy us UMS | 1721.6 | 113 | 7.17 | -13.35 | 0 | 0 | 0.111 |
| Muddy ds UMS | 1940.43 | 172 | 7.44 | -14.58 | 0 | 0 | 0.127 |

Project: Cheat Mouth Sweep

Description: Friends of the Cheat periodically samples AMD impaired streams at their

confluence with the Cheat River as a “Cheat Mouth Sweep.”

Water quality data: (10/21/2021)

| Site | Flow (GPM) | Conduct. (µs) | Lab pH (SU) | Acidity (mg/L) | D_Al (mg/L) | D_Fe (mg/L) | D_Mn (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Greens at Greens run Rd | 366.22 | 919 | 3.19 | 204.3 | 21.3 | 12.5 | 1.74 |
| Lick Mouth | 525.99 | 1830 | 2.67 | 633.4 | 58.1 | 71.3 | 1.81 |
| Heather Mouth | 84.15 | 779 | 3.22 | 145.3 | 17.6 | 0.919 | 1.59 |
| Muddy Mouth | 4037.85 | 661 | 6.96 | -7.88 | 0 | 0 | 0.925 |
| Morgan Mouth | 521.95 | 1000 | 3.0 | 231.1 | 25.7 | 23.4 | 1.73 |
| Bull Mouth | 1014.29 | 695 | 4.0 | 75.06 | 9.57 | 0.288 | 1.1 |
| Pringle Mouth | 662.45 | 490 | 4.23 | 56.45 | 7.72 | 0 | 1.22 |